# Winter / Rain Season Readiness Checklist - 100 Points (Site Issue Copy)

UAE construction sites  |  Issue, complete and sign this copy for the site file. The editable Excel workbook is the master version.

DISCLAIMER - USE AS A GUIDE ONLY. This checklist is a general starting point for preparing a UAE construction site for rain and the winter season. Every site is different: some items will not apply to your project, and your site may require additional items that are not listed here. Use it to help you get started and prepared, then adapt it to your own scope, location, permits, approved designs and risk assessment, and have it reviewed by a competent person. It does not replace UAE federal, emirate, free-zone or utility requirements, permit conditions, approved designs, Civil Defence directions, manufacturer instructions or professional advice. Always confirm current requirements with the relevant authority before relying on any item.

| Field | Entry |
| --- | --- |
| Project / contract name |  |
| Project number |  |
| Emirate and municipality / jurisdiction |  |
| Free zone or special jurisdiction |  |
| Site location, plot and coordinates (Makani / GPS) |  |
| Site manager / mobile |  |
| HSE manager / mobile |  |
| Weather controller / mobile |  |
| Dewatering permit / NOC no. and expiry |  |
| Environmental clearance no. and expiry |  |
| Approved discharge point(s) |  |
| Prepared by / date / revision |  |

| How to use this copy | Detail |
| --- | --- |
| 1. Adapt before you audit | Delete or mark N/A any item that does not apply, and add any site-specific item that is missing. The list is a guide, not a closed set. |
| 2. Assign an owner | Every item needs a named responsible person and a target date. Use the Excel workbook to allocate owners and track status. |
| 3. Record evidence | For each completed item, write the evidence reference (record, certificate, permit, photograph or register) in the Evidence column. |
| 4. Verify before the season | Have the completed checklist reviewed and signed by the site manager, HSE manager and, where relevant, the temporary works coordinator. |
| 5. Re-verify after every event | Re-check the applicable items after any significant rain or flood event before restarting affected activities. |

## A. Governance, Weather Monitoring & Competence

| # | Check item | Why it matters (risk) | Authority / source reference | Applies to | Priority | Status / initials | Evidence reference |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Appoint a named weather controller and a deputy for every shift, including night shift, with written authority to escalate and stop work. | Creates one accountable decision route instead of informal phone-app monitoring. | NCM [F1]; NCEMA [F2] | All UAE | Critical |  |  |
| 2 | Log the NCM project-area forecast, warning colour, exact hazard wording, issue time and validity at every defined check (shift start, every four hours and before high-risk work). | No verified construction-specific meaning attaches to a colour alone, so the exact warning must be auditable. | NCM [F1] | All UAE | Critical |  |  |
| 3 | Subscribe the incident commander to the NCEMA National Early Warning System and to emirate, utility and Civil Defence channels, and retain the alerts. | National and local alerts may carry evacuation, access or closure directions beyond a forecast. | NCEMA [F2]; Civil Defence Decree-Law 35/2024 [F5]; UAE emergency guidance [F12] | All UAE | High |  |  |
| 4 | Adopt a written alert matrix: yellow = heightened checks; orange = activate the weather plan and reassess exposed work; red = stop or evacuate exposed work as conditions and official directions require. Label it a project control, not an official NCM definition. | Delivers conservative, documented action without inventing official thresholds. | NCM [F1]; NCEMA [F2]; project risk assessment | All UAE | Critical |  |  |
| 5 | Name the all-clear authority and prohibit supervisors from restarting work independently after rain. | Weather can stop long before ground, power and temporary works become safe again. | NCEMA BCM guide [F14]; HSE [T4] | All UAE | Critical |  |  |
| 6 | Hold a pre-season review of permits and NOCs, authority and utility contacts, critical drawings, the flood map, the call-out roster and subcontractor obligations. | Wet-weather decisions fail when permits, drawings or contact ownership are stale. | DMT NOC lifecycle [AD1]; Dubai Municipality [DB1]; NCEMA BCM [F14] | All UAE | High |  |  |
| 7 | Insert weather hold points into method statements, lift plans, excavation permits, confined-space permits and the temporary-works register. | Places rain and wind decisions inside controlled work systems rather than a separate HSE notice. | ADOSH code index [AD2]; HSE lifting [T8] | All UAE | High |  |  |
| 8 | Brief all workers in their own language on alarms, muster points, no-go flood routes and their right to refuse unsafe travel. | A warning only works when it becomes understood action, including for workers without smartphone access. | NCEMA [F2]; MOHRE circular [F6] | All UAE | High |  |  |
| 9 | Record site-level observations (water levels, pump status, ponding, access-road condition) alongside the forecast at each check. | Local conditions, not the forecast alone, determine when the site becomes unsafe. | Dubai Municipality weather response [EV7]; CIRIA [T9] | All UAE | High |  |  |
| 10 | Run and record a pre-season rain and flood drill with subcontractors and accommodation management, then close the corrective actions. | Business-continuity practice expects exercises, reports and corrective action before the event. | NCEMA BCM guide [F14]; MOI/NCEMA April 2024 response [EV2] | All UAE | Medium |  |  |

## B. Drainage, Flood Defence & Dewatering

| # | Check item | Why it matters (risk) | Authority / source reference | Applies to | Priority | Status / initials | Evidence reference |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 11 | Produce a surveyed site flood plan showing contours, low points, overland flow routes, inlets, manholes, culverts, sumps and receiving points, and update it after every event. | Pre-identifies how water reaches people, plant, pits and public infrastructure. | DMT infrastructure guideline [AD1]; CIRIA SuDS construction [T9] | All UAE | Critical |  |  |
| 12 | Verify approved drainage tie-ins, outfalls, invert levels and asset-owner or NOC conditions before any wet-season change; no ad-hoc connection to public drainage or sewer. | Public drainage is not an implied construction discharge point. | DMT [AD1]; Dubai Municipality utility services [DB1] | All UAE | High |  |  |
| 13 | Keep the current written dewatering permit or NOC, routed drawing, pump schedule and discharge conditions at the pump station and site office. | Authorities may control the pump, pipe, discharge point and sedimentation arrangement. | Dubai Local Order No. 8/2002 Art. 27 [EN1]; DDA dewatering NOC [DB3] | All UAE (permit-driven) | Critical |  |  |
| 14 | Test duty and standby pumps, float switches, generator backup, hoses, couplings and non-return valves before forecast rain and after every event. | A single pump failure can rapidly inundate a pit, basement or access route. | Dubai Municipality readiness reporting [EV7]; Dubai Municipality [DB1] | All UAE | Critical |  |  |
| 15 | Provide protected, attended sumps with spare fuel, raised generator and pump platforms and automatic high-level alarms. | Maintains removal capacity without turning the pump or fuel system into a flood or pollution source. | Ajman MPDA permit context [AJ1]; CIRIA [T9] | All UAE | High |  |  |
| 16 | Separate clean runoff from silty excavation water, oily water, concrete washout and sewage before any discharge. | A clear appearance is not proof that water is clean or lawful to discharge. | Dubai Local Order No. 8/2002 [EN1]; Dubai Green Building Regulations [EN2] | All UAE | High |  |  |
| 17 | Pass approved dirty water through settlement or filtration and sample uncharacterised water before discharge. | Silt and contaminants block networks and pollute receptors; permits can require treatment and monitoring. | ADOSH CoP 29.0 [AD3]; Abu Dhabi DoE Water Quality Regulations 2025 [EN3] | All UAE | High |  |  |
| 18 | Prohibit ad-hoc discharge to storm drains, sewers, roads, wadis, beaches, marine water or neighbouring plots. | Federal law prohibits polluting discharge and a written receiving-route approval is required. | Federal Law No. 24/1999 [F9]; Dubai Local Order No. 8/2002 [EN1] | All UAE | Critical |  |  |
| 19 | Install silt fences, inlet protection, check dams, sediment traps and covered-stockpile controls before bulk earthworks begin. | Controls need capacity before the first runoff, not after sediment reaches public inlets. | CIRIA SuDS construction [T9]; Dubai Green Building Regulations [EN2] | All UAE | High |  |  |
| 20 | Inspect and desilt traps, drains, gullies and temporary channels before and after every significant event. | Sediment capacity is finite and debris-blocked inlets worsen urban flooding. | Dubai post-rain pest and outlet programme [EV4]; Dubai Municipality readiness [EV7] | All UAE | High |  |  |
| 21 | Secure hoses against traffic, scour and disconnection, never discharge at a slope toe, and fence and light basins, manholes and discharge points. | Uncontrolled hose movement erodes ground, creates trip hazards and redirects flooding. | HSE [T4]; RAK structural regulations [RK3]; Dubai Local Order No. 8/2002 [EN1] | All UAE | High |  |  |
| 22 | Stop pumping and investigate if a settlement basin leaks or infiltrates, and keep an approved tanker or receiver contingency for water that cannot lawfully be discharged. | Leakage undermines ground and spreads polluted water; contaminated water must not simply be transferred to the public system. | Dubai Local Order No. 8/2002 Art. 29 [EN1]; Federal Law No. 24/1999 [F9] | All UAE | High |  |  |

## C. Low-Lying Areas, Excavations & Ground Conditions

| # | Check item | Why it matters (risk) | Authority / source reference | Applies to | Priority | Status / initials | Evidence reference |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 23 | Map and mark flood-sensitive zones: basements, ramps, lift pits, shafts, tunnels, low road crossings and drainage depressions. | These locations concentrate inflow and can trap workers or critical equipment. | Dubai Municipality [DB1]; April 2024 response evidence [EV2] | All UAE | High |  |  |
| 24 | Set no-entry triggers for standing or accumulating water, visible runoff, pump failure, sloughing, cracking, bulging or loss of access. | Each condition can indicate collapse, drowning or rescue risk. | HSE [T4]; OSHA 2226 [T5] | All UAE | Critical |  |  |
| 25 | Barricade flooded excavations and prohibit wading or driving to gauge water depth. | Floodwater conceals drop-offs, live services, contaminated water and unstable soil. | NCEMA emergency guide [F4]; OSHA 2226 [T5] | All UAE | Critical |  |  |
| 26 | Inspect excavation faces, shoring, trench boxes, edges, ladders, spoil setbacks and adjacent structures before each shift and after any destabilising event. | Water changes ground strength; ADOSH, HSE and OSHA all require competent reinspection after rain. | ADOSH CoP 29.0 [AD3]; HSE [T4]; OSHA 2226 [T5] | All UAE | Critical |  |  |
| 27 | Keep spoil, vehicles, cranes and stockpiles outside engineered edge-exclusion distances. | Surcharge combined with saturated soil can cause edge failure or collapse. | RAK structural regulations [RK3]; HSE [T4] | All UAE | High |  |  |
| 28 | Obtain a geotechnical or temporary-works review before changing support, batter, haul road, working platform or dewatering arrangement after rain. | Improvised wet-weather changes invalidate design assumptions and can transfer failure to adjacent property. | HSE [T4]; RAK structural regulations [RK3] | All UAE | High |  |  |
| 29 | Maintain escape ladders and ramps above credible flood level and keep them clear. | A flood can remove the normal exit before a worker reaches it. | ADOSH CoP 29.0 [AD3]; OSHA 2226 [T5] | All UAE | Critical |  |  |
| 30 | Treat flooded shafts, manholes, tanks and storm drains as confined spaces: isolate inflows, test the atmosphere, provide an attendant and plan non-entry rescue. | Rain and sewage create rapidly rising water and hazardous atmospheres. | HSE L101 [T7] | All UAE | Critical |  |  |
| 31 | Prohibit rescue entry into a rising-water confined space; call the emergency services and use the planned rescue controls. | Improvised rescuers are at high risk of multiple fatalities. | HSE L101 [T7]; UAE emergency guidance [F12] | All UAE | Critical |  |  |
| 32 | Recheck crane mats, scaffold bases, temporary roads and MEWP platforms for bearing, washout and settlement after saturation. | Surface appearance can conceal a soft or undermined layer. | HSE [T4]; April 2024 response evidence [EV2] | All UAE | High |  |  |
| 33 | Ras Al Khaimah: follow the soil report, keep open-cut slopes within 30 degrees unless an approved design permits otherwise, and dewater to at least 1 m below target formation where groundwater sits above it. | These are specific RAK structural-regulation values that must be reflected in the permit and design. | RAK structural regulations [RK3] | Ras Al Khaimah | Critical |  |  |
| 34 | On wadi and mountain sites (Ras Al Khaimah, Fujairah, Al Ain), map the upstream catchment, valley mouths, culverts and safe high ground, and keep laydown, parking and worker routes out of wadis and flow paths. | Runoff and debris can arrive from storms outside the worksite, even when rain at the plot is light. | RAK Sustainable Community Guidelines [RK7]; Fujairah PWAD [FU2]; NCEMA [F4] | RAK / Fujairah / Al Ain | Critical |  |  |

## D. Electrical Safety & Temporary Power

| # | Check item | Why it matters (risk) | Authority / source reference | Applies to | Priority | Status / initials | Evidence reference |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 35 | Maintain a current controlled single-line diagram covering all temporary distribution and isolation points. | Rapid isolation and post-event testing are impossible when circuits cannot be traced. | IEC 60364-7-704 [T1]; HSE HSG141 [T2] | All UAE | High |  |  |
| 36 | Elevate distribution boards, generators, transformers, welders, joints and cable reels above credible flood and ponding level. | Reduces water ingress, shock, fire and equipment-failure risk. | ADOSH CoP 15.0 [AD4]; DEWA rainy-season guidance [DB5] | All UAE | Critical |  |  |
| 37 | Use enclosures, couplers and cable routes suited to the actual wet exposure and keep joints out of puddles and traffic routes. | An IP rating does not make damaged or immersed equipment safe. | IEC 60364-7-704 [T1]; HSE HSG141 [T2] | All UAE | High |  |  |
| 38 | Provide RCD, RCBO or GFCI protection, earthing and bonding, and routine functional testing with recorded results. | Residual-current protection complements but never replaces earthing and inspection. | ADOSH CoP 15.0 [AD4]; IEC 60364-7-704 [T1] | All UAE | Critical |  |  |
| 39 | Abu Dhabi: verify the ADOSH temporary 110 V construction-supply and residual-current protection requirements. Treat 110 V as an emirate and design control, not a national rule. | Applying a UK or single-emirate practice nationally can create a false compliance claim. | ADOSH CoP 15.0 [AD4]; IEC 60364-7-704 [T1] | Abu Dhabi | High |  |  |
| 40 | Use only authority-approved temporary connections and registered or competent electrical contractors where required. | Utility or free-zone approval is separate from a contractor's internal HSE inspection. | SEWA [SH4]; RAKEZ HS&E Regulations [RK6]; EtihadWE [FU4] | All UAE | High |  |  |
| 41 | Isolate, lock and tag, and prove dead any flooded or water-affected circuit before access or drying. | Wet equipment can remain energised; a trip or power loss is not proof of isolation. | DEWA guidance [DB5]; HSE HSG141 [T2] | All UAE | Critical |  |  |
| 42 | Quarantine submerged equipment of unknown condition and test, repair or replace it before return to service; drying is not a test. | Drying alone does not establish insulation, earthing, enclosure or downstream integrity. | IET Code of Practice [T3]; DEWA guidance [DB5] | All UAE | High |  |  |
| 43 | Require a competent electrician's recorded inspection and test before re-energisation after any water ingress. | Post-event return to service needs a positive technical acceptance, not elapsed time. | DEWA circulars [DB6]; IET Code of Practice [T3] | All UAE | Critical |  |  |
| 44 | Protect and raise cable crossings, inspect plugs, leads and hand tools after rain and remove damaged items from service. | Standing water and vehicle damage combine to create shock and fire risk. | ADOSH CoP 15.0 [AD4]; HSE HSG141 [T2] | All UAE | High |  |  |
| 45 | Suspend exposed electrical work during lightning, take shelter away from metal and electrical contact, and inspect lightning protection, earthing and tower cranes after a suspected strike. | NCEMA warns that lightning damages equipment and creates direct electrical hazards. | NCEMA [F4]; IEC 60364-7-704 [T1] | All UAE | Critical |  |  |
| 46 | Provide emergency lighting and protected, elevated isolation access, post the serving-utility emergency route, and protect and identify buried or damaged services before excavation or dewatering. | Evacuation and isolation must remain possible when normal power and access are impaired. | UAE Fire and Life Safety Code [DB7]; Civil Defence Decree-Law 35/2024 [F5]; EtihadWE [AJ3] | All UAE | High |  |  |

## E. Lifting, Plant, Scaffolding & Temporary Structures

| # | Check item | Why it matters (risk) | Authority / source reference | Applies to | Priority | Status / initials | Evidence reference |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 47 | State manufacturer wind limits, crane configuration, anemometer location and alarm and stop levels in every lift plan. | Crane wind limits are equipment, load and configuration specific; generic internet values do not govern. | ADOSH CoP 34.0 [AD6]; HSE lifting [T8] | All UAE | Critical |  |  |
| 48 | Abu Dhabi: cease lifting when recorded wind speed or gusts exceed 38 km/h (20.5 knots), and always apply the lowest of authority, manufacturer, lift-plan and design limits. | ADOSH CoP 34.0 provides a verified emirate-specific threshold. | ADOSH CoP 34.0 [AD6] | Abu Dhabi | Critical |  |  |
| 49 | Provide and brief daily meteorological information to crane operators and lifting supervisors, and verify that anemometers are working. | ADOSH CoP 34.0 specifically requires anemometers and daily meteorological reports. | ADOSH CoP 34.0 [AD6] | Abu Dhabi | High |  |  |
| 50 | Stop exposed lifting immediately for lightning, unsafe visibility, uncontrolled load swing, flooded access or unstable ground. | Wind speed is not the only weather mechanism that invalidates a lift plan. | NCEMA [F4]; HSE lifting [T8] | All UAE | Critical |  |  |
| 51 | Secure cranes, hoists and MEWPs in the manufacturer-approved out-of-service or storm configuration before conditions worsen. | A crane's restraint and slewing arrangement is manufacturer-specific and must be applied in advance. | HSE lifting [T8]; Port of Fujairah marine notice [FU7] | All UAE | High |  |  |
| 52 | After rain, inspect crane foundations, rails, ties, anchors, brakes, outriggers, mats, hoists and lifting accessories before release to service. | Saturation, scour and water ingress change stability and control margins. | ADOSH CoP 34.0 [AD6]; Fujairah PWAD [FU2] | All UAE | Critical |  |  |
| 53 | Reassess ground-bearing capacity and exclusion zones near excavations before mobile-crane setup after rain. | Rain can undermine pads and excavation edges after an otherwise acceptable lift plan was issued. | ADOSH CoP 34.0 [AD6]; HSE [T4] | All UAE | High |  |  |
| 54 | Stop scaffold use when platforms are slippery or wind and visibility make access unsafe, and never move mobile scaffold towers in wind. | Wet footing and wind increase fall and balance hazards; the mobile-tower rule is express in ADOSH CoP 26.0. | ADOSH CoP 26.0 [AD5]; HSE work at height [T10] | All UAE | Critical |  |  |
| 55 | Inspect scaffold bases, sole boards, ties, bracing, guardrails, toe boards, ladders and decks after storms and high winds, recording location, date and time, findings, inspector and design reference. | ADOSH requires retained weather-event inspection records, not a verbal release. | ADOSH CoP 26.0 [AD5]; HSE work at height [T10] | All UAE | High |  |  |
| 56 | Inspect formwork, falsework, temporary roofs, hoardings, signs and edge protection after rain and wind, secure or dismantle loose items, and maintain lighting, non-slip access and barriers at stairs, ramps, roof edges and openings. | Rain, suction and wind change loads and can turn components into projectiles. | NCEMA [F3]; HSE work at height [T10]; HFZA EHS kit [SH5] | All UAE | High |  |  |

## F. Materials, Storage & Contamination Control

| # | Check item | Why it matters (risk) | Authority / source reference | Applies to | Priority | Status / initials | Evidence reference |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 57 | Store cement, gypsum, insulation, timber and electrical components under cover and above flood level. | Rain degrades materials and makes contaminated or damaged stock unsafe or unusable. | Fujairah Municipality [FU1]; RAKEZ HS&E Regulations [RK6] | All UAE | High |  |  |
| 58 | Quarantine and inspect wet, contaminated, damaged or chemically incompatible materials before use. | Apparent drying does not restore material properties or remove contamination. | Federal Law No. 24/1999 [F9]; Dubai Green Building Regulations [EN2] | All UAE | Medium |  |  |
| 59 | Locate fuel, oils, paints, solvents and chemicals in roofed, labelled, compatible secondary containment above ponding level. | Prevents flotation, rain-driven release and incompatible mixing. | Dubai Green Building Regulations [EN2]; RAKEZ HS&E Regulations [RK6] | All UAE | Critical |  |  |
| 60 | Keep chemical bund drains closed and treat accumulated bund rainwater as potentially contaminated. | Opening a bund drain can create an unpermitted release. | Dubai Green Building Regulations [EN2] | All UAE | High |  |  |
| 61 | Provide drip trays and absorbent protection under pumps and generators, and supervise refuelling. | Dubai Local Order No. 8/2002 expressly calls for oil-absorbent protection under pumps. | Dubai Local Order No. 8/2002 Art. 28 [EN1] | All UAE | High |  |  |
| 62 | Keep spill kits, drain covers and absorbents at fuel, workshop, chemical, generator and pump locations, with trained responders available. | The first minutes decide whether a minor spill reaches a drain or receptor. | RAKEZ HS&E Regulations [RK6]; CIRIA [T9] | All UAE | High |  |  |
| 63 | Use a lined, bunded and signed concrete washout with capacity for planned pours and stormwater separation, and prohibit chute, tool and truck washing to soil, roadways, gullies, wadis or sea. | High-pH washout and cement fines are major runoff pollutants and a direct receptor risk. | Dubai Green Building Regulations [EN2]; CIRIA [T9]; Dubai Local Order No. 8/2002 [EN1] | All UAE | Critical |  |  |
| 64 | Cover and secure construction and demolition skips, packaging, light sheets, rebar bundles, cylinders, formwork and hoardings against wind and flotation. | Wind and runoff mobilise materials, block drains and injure people. | NCEMA [F3]; Federal Law No. 12/2018 [F11] | All UAE | High |  |  |
| 65 | Segregate construction and demolition, hazardous, oil, sewage and general waste in labelled containers, prevent rainwater ingress, and retain manifests and receiving tickets. | Federal waste law requires controlled routes and C&D segregation; records demonstrate compliance. | Federal Law No. 12/2018 [F11]; Dubai Green Building Regulations [EN2] | All UAE | High |  |  |
| 66 | Cover and stabilise stockpiles with perimeter sediment controls while preserving designed drainage paths, and keep an up-to-date chemical inventory and SDS pack at the gate and control room. | Exposed soil is a direct source of silt and blockage, and responders need fast hazard information. | CIRIA [T9]; Dubai Green Building Regulations [EN2]; RAKEZ HS&E Regulations [RK6] | All UAE | High |  |  |

## G. Welfare, Accommodation & Worker Health

| # | Check item | Why it matters (risk) | Authority / source reference | Applies to | Priority | Status / initials | Evidence reference |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 67 | Inspect accommodation roofs, drainage, electrical rooms, exits, fire systems and access paths before and after rain. | Accommodation carries water, sewage, egress and fire requirements and may flood before the worksite. | UAE labour accommodation standards [F8] | All UAE | High |  |  |
| 68 | Keep accommodation and welfare facilities away from rainwater drainage channels and keep emergency exits clear. | Federal accommodation standards specifically address siting and emergency exits. | UAE labour accommodation standards [F8] | All UAE | High |  |  |
| 69 | Protect potable-water tanks, hose ends, dispensers and fill points from floodwater, chemicals and backflow. | Floodwater contact is a potential public-health incident, not merely a cleaning issue. | Federal Law No. 13/2020 [F10]; Dubai Green Building Regulations [EN2] | All UAE | Critical |  |  |
| 70 | Isolate, disinfect and sample suspect potable-water systems and provide sealed alternative drinking water until results clear the supply. | Consumption must stop when the supply may be unsafe. | Abu Dhabi DoE Water Quality Regulations 2025 [EN3]; Dubai Green Building Regulations [EN2] | All UAE | Critical |  |  |
| 71 | Inspect toilets, septic and holding tanks, sewage pumps, hoses and access for overflow, and maintain high-level alarms and tanker contingency. | Sewage overflow creates disease and environmental exposure and must never enter stormwater. | Dubai Local Order No. 8/2002 [EN1]; Federal Law No. 13/2020 [F10] | All UAE | Critical |  |  |
| 72 | Protect kitchens, food stores and food-contact materials from roof leaks, floodwater, pests and chemicals, and discard food exposed to floodwater. | Food safety requires hygienic controls; flood-exposed food cannot be treated as saleable or safe. | ADAFSA Code of Practice No. 29/2019 [EN4]; labour accommodation standards [F8] | All UAE | High |  |  |
| 73 | After rain, verify refrigeration, temperature records, handwashing water, pest activity and food traceability. | Flooding can break food-control critical limits even when the kitchen remains open. | ADAFSA Code of Practice No. 29/2019 [EN4] | All UAE | Medium |  |  |
| 74 | Remove standing water and arrange approved pest management where mosquitoes, flies or rodents become a risk. | Post-April 2024 municipal action targeted stagnant water, drains and construction sites. | Dubai post-rain pest control [EV4]; Dubai Municipality [DB1] | All UAE | Medium |  |  |
| 75 | Provide dry changing space, waterproof PPE, slip-resistant footwear and a safe route to transport and accommodation. | Wet clothing, slips and stranded transport affect worker health and attendance. | Fujairah Municipality [FU1]; MOHRE circular [F6] | All UAE | Medium |  |  |
| 76 | Keep first-aid kits, medicines, emergency lighting and communication devices above expected flood level. | Response equipment must be usable when welfare cabins or power are affected. | RAKEZ HS&E Regulations [RK6]; Civil Defence Decree-Law 35/2024 [F5] | All UAE | High |  |  |
| 77 | Maintain headcount, welfare-contact and transport-continuity arrangements, allow safe delayed travel, and record qualifying weather transit delay as working time. | Cabinet Resolution No. 1/2022 Article 15 protects qualifying weather transit delay; April 2024 caused major access disruption. | Cabinet Resolution No. 1/2022 Art. 15 [F7]; MOI/NCEMA April 2024 response [EV2] | All UAE | High |  |  |

## H. Environmental Protection & Pollution Prevention

| # | Check item | Why it matters (risk) | Authority / source reference | Applies to | Priority | Status / initials | Evidence reference |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 78 | Keep the environmental clearance or CEMP, dewatering approval, discharge drawing and incident contacts at the site office and pump station. | Controls are permit-specific and field teams need approved conditions at the point of work. | Dubai Environmental Clearance guidance [DB2]; Dubai Local Order No. 8/2002 [EN1] | All UAE | High |  |  |
| 79 | Map drains, wadis, groundwater, beaches, mangroves, tidal channels, outfalls and protected areas as sensitive receptors. | The runoff route and receptor determine the severity and approval pathway of a release. | Federal Law No. 24/1999 [F9]; EAD mangrove guidelines [AD7] | All UAE | High |  |  |
| 80 | Set and mark no-go buffers around mangroves, tidal channels, seagrass, coast and protected habitats, and obtain permits before any intervention. | Avoidance of mature mangrove and habitat impact is the stated priority; permits are required first. | EAD mangrove guidelines [AD7]; Al Sinniyah Island [UA4] | All UAE | High |  |  |
| 81 | Never treat a dewatering NOC as permission for sewage, oily water, concrete washout or contaminated groundwater. | A discharge approval normally covers a defined water source, route and set of controls only. | Dubai Local Order No. 8/2002 [EN1]; DDA dewatering NOC [DB3] | All UAE | Critical |  |  |
| 82 | Classify water by source and risk, and sample uncharacterised water and soil using parameters informed by site history. | Source-based classification captures hydrocarbons, metals, microbes, pH and salinity that visual inspection misses. | Abu Dhabi DoE Water Quality Regulations 2025 [EN3]; Dubai Environmental Clearance guidance [DB2] | All UAE | High |  |  |
| 83 | Stop, cordon and notify the environmental manager if stained soil, unusual odour, buried waste, asbestos-like material or unusual groundwater is found; prevent tracking and approve classification and remediation before restart. | Excavation can mobilise unknown contamination, especially during rain. | Dubai Environmental Clearance guidance [DB2]; Federal Law No. 24/1999 [F9] | All UAE | Critical |  |  |
| 84 | Inspect bunds, silt controls, stockpiles, washout, skips and drains before a forecast event and after each storm. | Capacity and containment are reduced by damage, sediment and overtopping. | Dubai Green Building Regulations [EN2]; CIRIA [T9] | All UAE | High |  |  |
| 85 | Use licensed waste transport and disposal, and retain manifests, receiving tickets and laboratory records. | Federal waste law requires controlled disposal and records establish the final route. | Federal Law No. 12/2018 [F11] | All UAE | High |  |  |
| 86 | Never push silt, waste or flood debris into public drainage, wadis or coastal areas during clean-up. | Clean-up itself can become a secondary polluting discharge. | RAK Public Services Department [RK4]; Federal Law No. 24/1999 [F9] | All UAE | High |  |  |
| 87 | Record rainfall, pump run time and volume, discharge location, turbidity and test results, spills, tank levels and photographs. | Creates an auditable pollution-control record and supports authority reporting and claims. | Abu Dhabi DoE Water Quality Regulations 2025 [EN3]; Dubai Environmental Clearance guidance [DB2] | All UAE | Medium |  |  |
| 88 | Report water-quality incidents and regulatory non-compliance through the applicable permit and regulator route. | Abu Dhabi DoE expressly requires incident and non-compliance reporting within its regulated scope. | Abu Dhabi DoE Water Quality Regulations 2025 [EN3] | All UAE | High |  |  |
| 89 | Immediately stop and report any plume, sheen, fish kill, mangrove damage or unauthorised discharge to the relevant authority. | These are signs of potentially significant receptor impact requiring prompt containment and notification. | EAD mangrove guidelines [AD7]; Federal Law No. 24/1999 [F9] | All UAE | Critical |  |  |

## I. Emergency Response & Communication

| # | Check item | Why it matters (risk) | Authority / source reference | Applies to | Priority | Status / initials | Evidence reference |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 90 | Post emergency numbers, site coordinates (Makani or GPS), gate directions, site hazards and a caller script at the gate, control room and welfare areas. | Responders need location and hazard information quickly when access is flooded or communications are stressed. | UAE emergency guidance [F12]; Ajman Municipality [AJ2] | All UAE | Critical |  |  |
| 91 | Use 999 Police, 997 Civil Defence and 998 ambulance nationally unless the local or free-zone authority directs otherwise, and do not delay a life-safety call while resolving jurisdiction. | Emergency routing varies between publications; life safety takes priority over administrative clarity. | UAE emergency guidance [F12]; Sharjah emergency numbers [SH2]; RAKEZ HS&E Regulations [RK6] | All UAE | High |  |  |
| 92 | Keep an all-weather emergency-access route, a clear gate, visible fire points and elevated muster areas outside flood paths. | Flooded or obstructed access delays fire and rescue response and compromises evacuation. | UAE Fire and Life Safety Code [DB7]; Civil Defence Decree-Law 35/2024 [F5] | All UAE | Critical |  |  |
| 93 | Activate headcount, radio or telephone checks and subcontractor roll-call whenever work is stopped. | A site cannot safely evacuate or restart when people are unaccounted for. | MOI/NCEMA April 2024 response [EV2]; NCEMA BCM guide [F14] | All UAE | Critical |  |  |
| 94 | Prohibit driving or walking through rising water, flood barriers, wadis, torrents or closed roads. | Water depth, current, washout and electrical hazards are not reliably visible. | NCEMA [F4]; UAE emergency guidance [F12] | All UAE | Critical |  |  |
| 95 | During the event, isolate energy where safe, secure loose items, protect drains and deploy only trained personnel under the approved plan; escalate public-drain obstruction, sewage overflow, utility damage, fire or pollution promptly. | Uncontrolled response activity causes secondary electrical, lifting and drowning incidents. | NCEMA [F3]; NCEMA emergency guide [F4]; Federal Law No. 24/1999 [F9] | All UAE | High |  |  |

## J. Recovery, Reinstatement & Assurance

| # | Check item | Why it matters (risk) | Authority / source reference | Applies to | Priority | Status / initials | Evidence reference |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 96 | Maintain exclusion zones and conduct a documented progressive re-entry instead of a blanket restart. | Electrical, structural, contamination and ground hazards recover at different rates. | NCEMA BCM guide [F14]; HSE [T4] | All UAE | High |  |  |
| 97 | Obtain competent documented release for excavations and slopes, electrical systems, lifting plant, scaffolds and temporary works before restart. | Elapsed time or a clear sky is not a technical safety acceptance. | ADOSH CoP 29.0 / 15.0 / 26.0 / 34.0 [AD3][AD4][AD5][AD6] | All UAE | Critical |  |  |
| 98 | Inspect roads, drainage, utilities, accommodation, potable water, sewage, fire systems and environmental controls before reopening. | Recovery must cover welfare and off-site environmental interfaces, not only work equipment. | Labour accommodation standards [F8]; Dubai Green Building Regulations [EN2] | All UAE | High |  |  |
| 99 | Photograph and map water levels, damaged assets, blocked drains, spills, discharge routes and material condition before clean-up, notify the insurer and contract administrator promptly, and log alerts, pump hours, stoppages, mitigation costs and approvals. | Contemporaneous records distinguish extreme-weather loss from maintenance or temporary-works failure. | Cabinet relief and assessment committee [EV3]; MOI/NCEMA April 2024 response [EV2] | All UAE | High |  |  |
| 100 | Remove contaminated silt and waste through approved routes, repair erosion, reinstate drainage and test water systems, then run an after-action review that updates the flood map, trigger matrix, contacts, designs and drills. | Restoration is incomplete while pollutants remain or protective capacity is unrecovered. | Federal Law No. 12/2018 [F11]; Dubai Green Building Regulations [EN2]; NCEMA BCM guide [F14] | All UAE | High |  |  |

## Sign-off and declaration

| Role | Name | Signature | Date |
| --- | --- | --- | --- |
| Site Manager |  |  |  |
| HSE Manager |  |  |  |
| Temporary Works Coordinator |  |  |  |
| Electrical Authorised Person |  |  |  |
| Environmental Officer |  |  |  |
| Client / Engineer representative |  |  |  |

Declaration: the persons above confirm that this checklist has been adapted to the project, that the recorded status is accurate, that evidence exists for every completed item, and that no item marked N/A affects a legal, permit or authority requirement. DISCLAIMER - USE AS A GUIDE ONLY. This checklist is a general starting point for preparing a UAE construction site for rain and the winter season. Every site is different: some items will not apply to your project, and your site may require additional items that are not listed here. Use it to help you get started and prepared, then adapt it to your own scope, location, permits, approved designs and risk assessment, and have it reviewed by a competent person. It does not replace UAE federal, emirate, free-zone or utility requirements, permit conditions, approved designs, Civil Defence directions, manufacturer instructions or professional advice. Always confirm current requirements with the relevant authority before relying on any item.