# ADPHC CoP 46.0: Worker Extraction and Rescue Equipment for Confined Lower-Basement Conditions

Scope warning: CoP 46.0 is titled Underground Construction and uses tunnel/shaft terminology. It applies directly where the project falls within that scope. For a conventional lower basement, the Principal Contractor should confirm applicability with the relevant Abu Dhabi authority/permit route and adopt its controls where the same underground-access, evacuation or extraction hazards are present. The emergency plan must then be tailored to the basement geometry, occupancy, structural condition, rescue access and construction sequence.

## 1. Explicit CoP 46.0 extraction and rescue requirements

The following table reports the actual CoP 46.0 provisions relevant to worker extraction, first aid, evacuation and access. It does not add generic standards that are not stated in the Code.

| CoP 46.0 provision | Mandatory requirement | Practical implication for a confined lower basement | Evidence to hold before shift release |
| --- | --- | --- | --- |
| 3.8(a)(i): competent first aid | Competent persons trained in first aid and capable of responding rapidly must be available on each shift during working hours. | Roster first-aiders by workface/level; do not rely on an off-level or off-shift resource without a demonstrated response time. | Shift roster, training/competence records, radio/mobile contact and drill record. |
| 3.8(a)(ii): casualty movement | In serious injury, a casualty must be moved only by a trained first-aider, unless there is immediate risk of further injury. | Prevent untrained colleagues moving an injured worker down stairs, through a lift zone or over rebar/formwork. | Emergency briefing, first-aider allocation and casualty-movement procedure. |
| 3.8(a)(iii): first-aid boxes | Clearly identified, readily accessible first-aid boxes must be provided; contents must be protected as far as reasonably practicable from dirt and damp; designated first-aiders must control them each shift. | Locate kits at the active workface and protected points, not only at surface office level. | Marked locations, inspection tags, inventory and nominated custodian. |
| 3.8(a)(iv): stretchers and blankets | Provide and maintain stretchers and blankets appropriate for the confined space; make them readily accessible in working areas and protect them from dirt/damp. Where access is by a shaft, store stretchers at tunnel level where reasonably practicable. | Choose equipment that fits the actual lower-basement route, turns, stairs/ramps and transfer points; keep it at level, not locked in a remote store. | Rescue-equipment schedule, dimensions/route compatibility assessment, inspection log and location plan. |
| 3.8(a)(v): surface transfer | Provide an appropriate means to transport an injured person to the surface. Shaft lifting arrangements must take this into account. | The rescue plan must define how a stretcher/casualty reaches grade level without relying on an unavailable or unsafe crane/hoist. | Approved casualty-transfer method, equipment capacity/compatibility record and drill. |
| 3.9(a): rapid transfer and ambulance access | Formulate a clear plan for rapid injured-person transfer from work areas and ensure ambulances can quickly reach shaft tops or other access points. | Establish protected workface-to-casualty-collection-to-ambulance route, a surface rendezvous point, gate guide and traffic clearance. | Current route drawing, daily route check, gate instructions and ambulance-access verification. |
| 3.9(b)(i): evacuation instructions | Give all employees clear instructions on emergency evacuation procedures. | Brief every trade and shift in the primary/secondary route, alarm, muster, no-entry and lift-zone rules. | Induction/toolbox record and multilingual route signage. |
| 3.9(b)(ii): portable illumination | Provide each underground employee with a portable hand lamp or cap lamp unless natural light or emergency lighting provides appropriate illumination. | In a dark or power-loss-prone lower basement, document how lighting remains adequate for escape and rescue. | Lamp allocation/inspection or emergency-lighting test. |
| 3.9(b)(iii): smoke/gas hazard equipment | Where a gas or smoke hazard may exist, provide escape-type breathing apparatus and an approved gas monitor. | This is a conditional control, based on the MSRA and fire/smoke/gas assessment; it is not an automatic requirement for every basement. | Hazard assessment, equipment issue/inspection, training and rescue plan. |
| 3.9(b)(iv): 25+ persons underground | If 25 or more employees work underground at any one time, provide a fully equipped and trained rescue team and an appropriate vehicle to transport an injured person to the nearest hospital. | This is the specific CoP numerical trigger. The rescue team must be site-available, trained and equipped—not an improvised group of labourers. | Maximum-occupancy record, rescue-team roster/competence, equipment list, vehicle arrangement and drill. |
| 3.9(b)(v): fewer than 25 persons | If fewer than 25 people work underground, maintain a direct means of communication with local emergency services. | Keep reliable emergency-call capability at the workface and a route/coordinates protocol for responders. | Tested communications, emergency numbers and location card. |
| 3.9(b)(vi): shaft egress / lifting | If a shaft is used for egress, arrange readily available lifting capability unless regular lifting means will operate during power failure. | Do not assume a normal hoist/crane will work during a power outage; predefine resilient casualty extraction. | Power-failure assessment, backup lifting arrangement and test record. |
| 3.6: access and egress | Maintain safe access to and egress from all underground construction areas; control unused openings. | Keep basement exit routes safe, guarded and unobstructed; isolate unused openings to prevent falls/unauthorised access. | Access/egress plan, daily inspection and barrier record. |
| 3.13.3: emergency lighting | Provide appropriate emergency power/lighting. In tunnels, emergency lighting is required at intervals not exceeding 10 m and at first-aid points, escape routes, emergency exits, access points, control/communication points and particular hazards. | The 10 m tunnel spacing should not be copied blindly into a basement. The project must show that emergency lighting covers equivalent critical points and supports safe escape. | Lighting layout, emergency-power assessment, functional test and route drill. |
| 3.16.6: secondary egress | Where normal access is mechanical (hoist/crane), provide a secondary means of egress for plant breakdown; fixed access must be provided as early as reasonably practicable. | A single construction hoist or crane is not a sufficient sole escape/extraction route. | Primary/secondary egress drawing and access inspection. |

## 2. Equipment standard: what CoP 46.0 actually mandates

CoP 46.0 is primarily performance and capability based. It mandates the availability, accessibility, maintenance and suitability of listed equipment; it does not prescribe a single brand, model or universal EN/BS/ASTM product standard for every rescue item.

| Equipment category | CoP 46.0 requirement | Project-specific standard or design decision to document |
| --- | --- | --- |
| Stretcher and blanket | Maintain equipment appropriate to the confined space; accessible in emergency; protected from dirt/damp. | Confirm dimensions and turning radius against actual route; define carrying team, stair/ramp transfer method and inspection frequency. |
| First-aid boxes | Clearly identified, accessible, protected from dirt/damp and controlled by designated first-aiders each shift. | Match contents to approved first-aid/medical assessment and site medical provider; record replenishment and expiry. |
| Emergency lighting | Appropriate emergency resources/power; in tunnel context, lights at defined escape/first-aid/control points and at ≤10 m intervals. | Design basement coverage, battery autonomy, water/fire/mechanical protection, illumination validation and functional-test frequency. |
| Portable lamps / cap lamps | Supply unless natural/emergency lighting is adequate. | Select/inspect lamps for the environmental risk, charging controls and issue system. |
| Escape breathing apparatus and gas monitor | Required only where the risk assessment identifies gas or smoke hazard; gas monitor must be approved. | Specify the gas-monitor type, alarm set points, calibration/bump-test regime, escape apparatus selection and competency under the MSRA. |
| Rescue team equipment | For 25+ underground workers, a fully equipped and trained rescue team is required. | The emergency plan must define the credible rescue scenarios, capability boundary, equipment list, team size, medical interface and drill acceptance criteria. |
| Casualty-to-surface transfer / lifting | Provide appropriate means; shaft arrangements must support it; backup lifting capability needed if the regular means fails in power loss. | Verify compatible stretcher transfer, lifting arrangement, safe load/capacity, emergency power/backup and a mechanical-failure contingency. |
| Rescue vehicle | For 25+ employees underground, provide an appropriate vehicle to transport an injured person to nearest hospital. | Define vehicle availability, driver, route, alternative when ambulance services take over and emergency-service coordination. |

Key distinction: “Fully equipped” is not a short shopping list. The equipment must be selected from the project’s credible collapse, crush, smoke/fire, flood, power-loss, access-blockage and medical scenarios, and the rescue team must be trained and drilled in its use. CoP 46.0 does not authorise improvised technical rescue by untrained site personnel.

## 3. Lower-basement adaptation checklist

Before applying CoP 46.0 controls to a lower basement, the Principal Contractor should secure written confirmation of scope/permit applicability and complete the following project decisions:

| Decision | Required project output |
| --- | --- |
| Occupancy trigger | Confirm maximum people simultaneously below grade. If 25+, apply CoP 46.0’s trained, fully equipped rescue-team and transport-vehicle trigger. |
| Route capacity | Demonstrate that the primary and secondary routes can move a stretcher/carry team and allow emergency-service access; determine width, turns, slopes and vertical-transfer method from the actual drawings. |
| Access resilience | Identify at least one route that does not depend on the normal hoist/crane or the same power source. |
| SIMOPS separation | Keep worker extraction and casualty routes outside crane lift/fall zones, concrete-pump hose movement, mobile plant, material landing and dewatering/electrical hazards. |
| Structural stability | Define no-entry boundaries and emergency-service handover for collapse, formwork failure, shoring movement or a compromised slab. |
| Medical response | Define incident command, first-aid coverage, casualty collection point, ambulance interface and multiple-casualty triage procedure. |
| Drill validation | Conduct scenario drills in the real workface, including route blockage, power loss, crane incident, water/flooding and multiple casualties. Log and close corrective actions. |

## References