## START HERE
REMOTE CAMP KITCHEN — WATER & TANKER DELIVERY CONTROL REGISTER
Complete the log only with current authority-approved test requirements and validated supplier documents. Do not use this form to create a test limit or authorise a suspect delivery.
1. Role split | Supplier/responsible entity: licensed tanker, provider sampling programme and tankering controls. Camp: document acceptance, on-site storage, food/ice risk and incidents.
2. Abu Dhabi tanker frequencies | Provider must confirm applicable risk programme. Official DoE Schedule 2: tanker Table A/C/E/F/Legionella groups reduced/standard/increased = 1/2/4 per annum (all sizes).
3. Dubai / other emirates | Obtain municipality-specific guidance in writing. Dubai lists Guideline 17 (unbottled drinking water); do not assume Abu Dhabi frequency applies.
4. Daily system check | Use 02_Water_System every operating day and each disruption. Use 01_Tanker_Delivery for every delivery.
5. Suspected contamination | Stop use for food/ice; isolate source/tank; secure alternatives; record CAPA/incident; contact supplier/authority as conditions require.

## 01_Tanker_Delivery
POTABLE WATER TANKER DELIVERY ACCEPTANCE LOG
Complete before/at every transfer. Reject or hold if documentary/physical control is not satisfactory.
Date/time | Supplier / responsible entity | Tanker reg. no. | Permit/cert. no. + expiry | Driver / ID | Drinking-water signage verified | Source / filling point | COA / sampling ref. | Seal/hatch/hose condition | Receiving tank ID | Volume | Accept / Reject | CAPA / comments | Receiver / signature

## 02_Water_System
DAILY WATER SYSTEM & ICE CHECK
Complete before food preparation and at each water/power disruption.
Date | Time | Potable source available | Tank ID / level | Lid / vent / overflow protected | Leaks / odour / colour / sediment | Food-prep tap condition | Ice machine / ice condition | Current COA / next due check | Power / interruption status | Pass / Fail | Immediate action / CAPA | Checker | Verifier

## 03_Sampling_COA
WATER SAMPLING & CERTIFICATE OF ANALYSIS REGISTER
Enter approved sampling-plan criteria only. Attach certificate and chain of custody.
Sample ID | Date/time | Sampling point | Source / tanker / tank ID | Laboratory | Chain of custody ref. | Approved parameter group | Result / status | Certificate ref. | Next due date | Corrective action / notification | Reviewer

## 04_Supplier_Tanker
SUPPLIER / TANKER APPROVAL REGISTER
Maintain current verification for each potable water supplier and tanker.
Supplier / entity | Contact | Tanker reg. no. | Intended water type | Permit / certificate ref. | Expiry | Tracking / dispatch reference | Latest COA / sampling ref. | Risk / approval status | Review date | Approved by

## 05_Incident_CAPA
WATER CONTAMINATION / INTERRUPTION INCIDENT & CAPA
Use for suspected contamination, test failure, potable/non-potable cross-use, tanker issue, low level, leak or power event.
CAPA no. | Date/time | Event / source | Water / ice / food batch impact | Immediate containment | Supplier / authority contacted | Root cause | Corrective action | Preventive action | Owner | Due | Effectiveness / closure

## 06_Testing_Plan
SAMPLING PLAN & DUE-DATE PLANNER
Enter only authority/supplier-approved frequency. The DoE table below is provider-facing; do not alter it without confirmation.
Asset / source | Jurisdiction | Responsible party | Approved risk category | Parameter group / plan | Required frequency | Last sample | Next due | Certificate ref. | Authority / supplier confirmation | Owner