APPENDIX A — DUBAI / ABU DHABI CRANE APPROVAL WORKFLOW

Authority Approval and Independent Certification Milestones for Crane Erection

Figure A1. Controlled workflow visual. This appendix is a decision aid; current permit/NOC conditions, manufacturer instructions, project engineering and inspection-body requirements prevail.

# Workflow Notes

| Gate | Key rule |
| --- | --- |
| Authority route | Identify the exact plot and special-interface authority before mobilisation. |
| Engineering | Erection only to controlled OEM/engineering documents that match the approval record. |
| Certification | Independent testing/examination is an evidence gate; a missing or conditional certificate is a hold. |
| Operational handover | All named roles accept the technical file, maintenance/emergency controls and authority conditions before operation. |
| Change/incident | Major repair, configuration change, certificate/permit issue or incident reopens affected gates. |